| Project Name: UPS 400kVA (PWM Rec. 40A+400kVA Inv.) |  |  | DT Number: - |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Row | Type number | Description |  |  | Quantity | Manufacturer | Delivery Time |
| 1 | - | MCCB, 3P, 1000A, 50kA |  |  | 1 | ABB |  |
| 2 | - | MCCB, 16A, 3pole, 36kA |  |  | 1 | ABB |  |
| 3 | - | MCCB, 40A, 3pole, XT1N |  |  | 1 | ABB |  |
| 4 | - | MCCB, 50A, 3pole, XT1N |  |  | 1 | ABB |  |
| 5 | - | Trip Coil, XT1…XT4, 100-130V |  |  | 1 | ABB |  |
| 6 | - | Auxiliary, for XT1…XT4 |  |  | 2 | ABB |  |
| 7 | - | Auxiliary Contact for MCCB |  |  | 1 | ABB |  |
| 8 | - | Contactor, 3P, 800A with coil 230v ac |  |  | 1 | ABB |  |
| 9 | - | Contactor, AF16-30-10-13, 16A, 3pole |  |  | 1 | ABB |  |
| 10 | - | Contactor, AF50-30-00, 50A, 3pole |  |  | 1 | ABB |  |
| 11 | - | Contactor, 9A, 3 pole, 230V ac |  |  | 3 | Schneider |  |
| 12 | - | Capacitor for Contactor, 0.1µF, 275Vac |  |  | 5 | DNA |  |
| 13 | - | Inverter Transformer, 380V/450V, 3 Ph, 480KVA |  |  | 1 | EMG |  |
| تایید کننده: |  |  |  | تهیه کننده: |  |  |  |

| Project Name: UPS 400kVA (PWM Rec. 40A+400kVA Inv.) |  |  | DT Number: - |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Row | Type number | Description |  |  | Quantity | Manufacturer | Delivery Time |
| 14 | - | Line Reactor, 790A, 400Vac, 0.0279mH |  |  | 1 | ELEKTRA |  |
| 15 | - | DC link Choke (2line), 915A, 566V, 0.0564mH for each line |  |  | 1 | ELEKTRA |  |
| 16 | - | Sine wave filter, 680A, 50Hz, Max Resonance Frequency = 1.67kHz |  |  | 1 | ELEKTRA |  |
| 17 | - | AC Inductor, 0.8mH, 160A, 37VAC |  |  | 1 | ELEKTRA |  |
| 18 | - | Transformer, 440/37V, 10KVA |  |  | 1 | Zafar |  |
| 19 | - | Transformer, supply, 400/15V |  |  | 1 | - |  |
| 20 | - | Transformer, supply, 400/230V, 1ph, 5A |  |  | 1 | - |  |
| 21 | - | Potential Transformer, 1 phase, 400/230Vac, 5A |  |  | 1 | - |  |
| 22 | - | Power diode, MDO 500-16N1 |  |  | 6 | IXYS |  |
| 23 | - | IGBT Module, 1400A-1200V, CM1400DU-24S |  |  | 6 | MITSUBISHI |  |
| 24 | - | IGBT module, CM400, 600V |  |  | 3 | MITSUBISHI |  |
| 25 | - | DC Capacitor, 10000µF, 500VDC |  |  | 18 | KENDEIL |  |
| 26 | - | DC Capacitor, K02250103, 10000uf/ 250V |  |  | 2 | KENDEIL |  |
| تایید کننده: |  |  |  | تهیه کننده: |  |  |  |

| Project Name: UPS 400kVA (PWM Rec. 40A+400kVA Inv.) |  |  | DT Number: - |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Row | Type number | Description |  |  | Quantity | Manufacturer | Delivery Time |
| 27 | - | Power fuse aR, 1000A, 690Vac |  |  | 3 | ETI |  |
| 28 | - | Auxiliary for power fuse |  |  | 3 | ETI |  |
| 29 | - | Hall effect transducer, HAT, 1500A |  |  | 3 | LEM |  |
| 30 | - | Hall effect transducer, HAT, 800A |  |  | 3 | LEM |  |
| 31 | - | Current Transducer, HAS, 50A |  |  | 3 | LEM |  |
| 32 | - | Block Diode Module/ 80A |  |  | 1 | PKC |  |
| 33 | - | Dropper Diode Module/ 40A/ 110VDC |  |  | 1 | PKC |  |
| 34 | - | Heatsink, HS47/40cm |  |  | 2 | Heatalum |  |
| 35 | - | Heatsink, HS115/60cm |  |  | 3 | Heatalum |  |
| 36 | - | Heatsink, For module HS101/ 50cm |  |  | 1 | Heatalum |  |
| 37 | - | Snubber Capacitor, 3µF, 1250VDC |  |  | 36 | ALCON |  |
| 38 | - | Snubber Capacitor, 3µf, 1500VDC |  |  | 5 | Alcon |  |
| 39 | - | AC Fan, Axial, 230Vac, Door mounted |  |  | 1 | EBM |  |
| تایید کننده: |  |  |  | تهیه کننده: |  |  |  |

| Project Name: UPS 400kVA (PWM Rec. 40A+400kVA Inv.) |  |  | DT Number: - |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Row | Type number | Description |  |  | Quantity | Manufacturer | Delivery Time |
| 40 | - | AC Fan, Axial, 230Vac, Roof mounted |  |  | 1 | EBM |  |
| 41 | - | AC Fan, blower, 230Vac, D2E133 |  |  | 3 | EBM |  |
| 42 | - | AC Fan, blower, 230Vac, D2E097 |  |  | 3 | EBM |  |
| 43 | - | Fuse Holder, 3p, 10×38 |  |  | 4 | ETI |  |
| 44 | - | Fuse Holder, 2p, 10×38 |  |  | 1 | ETI |  |
| 45 | - | Fuse Holder, 1p, 10×38 |  |  | 15 | ETI |  |
| 46 | - | Fuse link, gG, 25A, 500V |  |  | 2 | ETI |  |
| 47 | - | Fuse link, gG, 16A, 500V |  |  | 1 | ETI |  |
| 48 | - | Fuse link, gG, 10A, 500V |  |  | 1 | ETI |  |
| 49 | - | Fuse link, gG, 4A, 500V |  |  | 1 | ETI |  |
| 50 | - | Fuse link, gG, 2A, 500V |  |  | 24 | ETI |  |
| 51 | - | HMI Display, DOP-107CV |  |  | 2 | DELTA |  |
| 52 | - | Close Toroid, Medium |  |  | 3 | MAGNETIC |  |
| تایید کننده: |  |  |  | تهیه کننده: |  |  |  |

| Project Name: UPS 400kVA (PWM Rec. 40A+400kVA Inv.) |  |  | DT Number: - |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Row | Type number | Description |  |  | Quantity | Manufacturer | Delivery Time |
| 53 | - | Close Toroid, for Fan |  |  | 1 | MAGNETIC |  |
| 54 | - | Toroid-T152×104×19 |  |  | 1 | Tangyong |  |
| 55 | - | Toroid-T25×15×8 |  |  | 1 | Tangyong |  |
| 56 | - | Electromagnetic Interference Filter PCB (3 Ph), CEM-PK-1.3 |  |  | 1 | PKC |  |
| 57 | - | Rectifier Module Snubber PCB, CSU-PK-04 |  |  | 1 | PKC |  |
| 58 | - | Switch mode power supply PCB, CPS-PK-04 |  |  | 2 | PKC |  |
| 59 | - | 3Ph Inverter Measurement PCB, TMU-PK-00 |  |  | 2 | PKC |  |
| 60 | - | 3Ph IGBT Driver PCB, TID-PK-01 |  |  | 2 | PKC |  |
| 61 | - | Parallel IGBT Interface PCB, TPI-PK-01 |  |  | 1 | PKC |  |
| 62 | - | 3Ph Inverter Control Board, TPU-PK-02 |  |  | 2 | PKC |  |
| 63 | - | DSP Control PCB, CDC-PK-03 |  |  | 2 | PKC |  |
| 64 | - | Inverter Auxiliary Unit I/O PCB, AAU-PK-05 |  |  | 1 | PKC |  |
| 65 | - | LCD PCB, CLC-PK-02 |  |  | 1 | PKC |  |
| تایید کننده: |  |  |  | تهیه کننده: |  |  |  |

| Project Name: UPS 400kVA (PWM Rec. 40A+400kVA Inv.) |  |  | DT Number: - |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Row | Type number | Description |  |  | Quantity | Manufacturer | Delivery Time |
| 66 | - | Modbus Unit PCB, CCB-PK-09 |  |  | 2 | PKC |  |
| 67 | - | Free Contact Unit PCB, CFC-PK-9.1 |  |  | 2 | PKC |  |
| 68 | - | HMI Interface PCB, CHI-PK-01 |  |  | 2 | PKC |  |
| 69 | - | Electromagnetic Interference Filter PCB (3 Ph)-CEM-PK-03 |  |  | 1 | PKC |  |
| 70 | - | Electromagnetic Interference Filter PCB (DC)-CEM-PK-02 |  |  | 2 | PKC |  |
| 71 | - | Voltage Supervisor relay PCB, CVS-PK-01 C |  |  | 2 | PKC |  |
| 72 | - | Earth Fault Detector PCB, CEF-PK-05 C |  |  | 1 | PKC |  |
| 73 | - | Earth Fault (LED), DEF002 |  |  | 1 | PKC |  |
| 74 | - | Diode Bridge PCB, CDS-PK-02 |  |  | 1 | PKC |  |
| 75 | - | Heater, 240Vac, 60W |  |  | 3 | Koomesh |  |
| 76 | - | Lighting Lamp, 220-240Vac, 5W |  |  | 3 | ZFR |  |
| 77 | - | Adjustable thermostat, NC |  |  | 3 | Koomesh |  |
| 78 | - | Adjustable thermostat, NO |  |  | 2 | Koomesh |  |
| تایید کننده: |  |  |  | تهیه کننده: |  |  |  |

| Project Name: UPS 400kVA (PWM Rec. 40A+400kVA Inv.) |  |  | DT Number: - |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Row | Type number | Description |  |  | Quantity | Manufacturer | Delivery Time |
| 79 | - | Microswitch, 15A, 250V |  |  | 3 | IPICO |  |
| 80 | - | Precharge Resistor, 100Ω, 50W |  |  | 3 | Arcol |  |
| 81 | - | Balancing Resistor, 6.8kΩ, 25W |  |  | 4 | Arcol |  |
| 82 | - | Thermostat, 80°C, NC |  |  | 2 | CQC |  |
| 83 | - | Thermostat, 70°C, NC |  |  | 4 | CQC |  |
| 84 | - | Thermostat, 50°C, NO |  |  | 6 | CQC |  |
| 85 | - | MCB, 6A, 1pole |  |  | 2 | ABB |  |
| 86 | - | CT, 15/5, 2.5VA, ALZ, CL1 |  |  | 3 | MAG |  |
| 87 | - | AC Ammeter, 15A, CL1.5 |  |  | 1 | ISKRA |  |
| 88 | - | AC Voltmeter, 500VAC, CL1.5 |  |  | 1 | ISKRA |  |
| 89 | - | DC Ammeter, 50A, CL1.5, Middle |  |  | 1 | ISKRA |  |
| 90 | - | DC Voltmeter, 150VDC, CL1.5 |  |  | 2 | ISKRA |  |
| 91 | - | DC Ammeter, 50A, CL1.5 |  |  | 1 | ISKRA |  |
| تایید کننده: |  |  |  | تهیه کننده: |  |  |  |

| Project Name: UPS 400kVA (PWM Rec. 40A+400kVA Inv.) |  |  | DT Number: - |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Row | Type number | Description |  |  | Quantity | Manufacturer | Delivery Time |
| 92 | - | Signal Lamp, Red, Phi 22 |  |  | 1 | RAAD |  |
| 93 | - | Signal Lamp, Green, Phi 22 |  |  | 1 | RAAD |  |
| 94 | - | Signal Lamp, Yellow, Phi 22 |  |  | 1 | RAAD |  |
| 95 | - | Selector Switch, 1-0-2, Phi 22 |  |  | 1 | Schneider |  |
| 96 | - | Mushroom Emergency Stop, Phi 22 |  |  | 1 | RAAD |  |
| 97 | - | Buzzer Signal Lamp, Phi 22 |  |  | 1 | RAAD |  |
| 98 | - | Current Selector Switch, R-S-T, 16A |  |  | 1 | TSR |  |
| 99 | - | Voltmeter Selector Switch, RS-ST-TR, 16A |  |  | 1 | TSR |  |
| 100 | - | Resistor, Aluminium, 1.8KΩ, 25W |  |  | 3 | Taiwan Ohm |  |
| 101 | - | Resistor, Aluminium, 47Ω, 50W |  |  | 2 | Taiwan Ohm |  |
| 102 | - | Shunt Resistor, 50A |  |  | 2 | ISKRA |  |
| 103 | - | Push button, Dual, 10A, 1NO+1NO |  |  | 1 | EBM |  |
| 104 |  |  |  |  |  |  |  |
| تایید کننده: |  |  |  | تهیه کننده: |  |  |  |